Loss Control Report

| Member Name | City of USA |
| --- | --- |
| Member Contact | Ms. Smith |
| Contact Title | Town Clerk |
| Contact Email | clerk@cityofusa.com |
| Visit Date | January 1, 2026 |
| Report Date | January 21, 2026 |
| Conducted by | Loss Control Rep |
| Conducted For | MWCF: Yes AMIC: Yes |
| 2025 Risk Management Award | Gold |

# Disclaimer

The Alabama League of Municipalities (League), the Municipal Worker's Compensation Fund (MWCF), the Alabama Municipal Insurance Corporation (AMIC), their successors, assigns, affiliated corporations, merged successors, heirs, personal representatives, shareholders, agents, insurers, employees, officers, and directors make no representation or warranties regarding the information contained in any loss control report or other information provided to the Member without verification. The information contained in the loss control report is intended as a guide and is not to be utilized by the Member in any way as a substitute for legal advice or the advice of an independent inspector, industrial hygienist, contractor or other professional. The members should not utilize or rely on any protocol, program, procedures, forms, or other information contained in this loss control report and the League, MWCF, AMIC, their successors, assigns, affiliated corporations, merged successors, heirs, personal representatives, shareholders, agents, insurers, employees, officers and directors, specifically disclaim any responsibility for problems, losses, liability, or errors that result from the Member relying on any information contained in the loss control reports or other information provided to the member. It is the sole responsibility of the members to ascertain the local regulations, laws, or codes applicable or related to any items or topics on the loss control report.

# Risk Management Review. - Number of Employees Full Time; 35. Part Time; 11.. # Employee Safety. Do you have a written Safety Manual or policy?; Yes. Do you issue the written Safety Manual or Policy to all employees and have them sign stating they have read it and understand it?; Yes. Do you conduct regular Safety Meetings?; Yes. How often do you conduct safety meetings?; Monthly. Are safety meetings documented?; Yes. Does the Safety Coordinator review and retain the documentation from the safety meetings?; Yes. Do you issue necessary PPE to all employees?; Yes. Do you offer Hepatitis B Vaccinations to employees with potential for exposure?; Yes. Do you require a Declination Statement to signed by employees who decline the Hepatitis B Vaccine?; No. Do you have a Safety Recognition Program?; No. Employee Safety Comments.

- Training

| Have you used our Safety Video Library or an equivalent within the last 12 months? | Yes |
| --- | --- |
| Have you conducted Online Training using LocalGovU or an equivalent within the last 12 months? | Yes |
| Have you sent any employees through our SKIDCAR Training or an equivalent within the last two years? | Yes |
| Do you conduct documented Safety Orientation training for newly hired employees? | Yes |
| Do you have employees trained in CPR and First Aid? | Yes |
| Do you have employees trained in Confined Space Entry? | Yes |
| Do you have employees trained in Trenching and Shoring? | Yes |

- Policies and Procedures

| Do you issue the Employee Handbook to all employees and have them sign for receiving it? | Yes |
| --- | --- |
| Do you have a written Sexual Harassment policy? | Yes |
| Do you conduct periodic training on your Sexual Harassment policy? | Yes |
| Do you have a written Progressive Disciplinary Procedure? | Yes |
| Do you perform Pre-Employment Physicals? | Yes |
| Do you have a Light Duty Return to Work program? | Yes |
| Do you investigate all accidents or injuries? | Yes |
| Are witness statements collected and documented during investigations? | Yes |
| Are the results of accident investigations as well as near misses used for training purposes to prevent future occurrences? | Yes |
| Do you counsel employees with multiple accidents or injuries within a 12-month period? | Yes |
| Do you use volunteers on a regular basis? | Yes |
| Are volunteers required to sign a hold-harmless agreement? | Yes |
| Do you perform background checks on volunteers when applicable? | Yes |

- Motor Vehicles

| Do you own or operate motor vehicles? | Yes |
| --- | --- |
| Do you perform documented inspections and maintenance on your motor vehicles? | Yes |
| Do you have a written Seat Belt policy that requires seat belt use for all occupants? | Yes |
| Do you have a written policy regarding the use of Mobile Devices while driving? | Yes |
| Do you have a written policy prohibiting the loaning out of vehicles and equipment? | Yes |
| Do you have a written policy prohibiting non-employees from riding in municipal vehicles unless they are on related municipal business? | Yes |
| Do you check Motor Vehicle Records (MVR) on the drivers of your vehicles? | Yes |
| Do you check MVRs on newly hired employees? | Yes |
| Do you check MVRs on all employees at least every three years? | Yes |
| Do you have a written policy explaining what an Acceptable Driving Record is? | Yes |
| Do you have any 15 passenger vans that provide public transportation? | Yes |
| Are drivers required to pass a medical exam prior to being allowed to drive these vans? | Yes |
| Are drivers trained in wheelchair loading, unloading, and proper securing techniques? | Yes |
| Do you require volunteer firefighters to be 21 years of age or older to drive emergency vehicles? | Yes |
| Does the fire department carry Aqueous Film Forming Foam (AFFF) on any apparatus? | Yes |

- Contractors and Subcontractors

| Do you require subcontractors to have their own Workers Comp insurance and/or add them to your Workers Comp coverage? | Yes |
| --- | --- |
| Do subcontractors add you as an Additional Insured on their liability policy and/or sign an Indemnification and Hold Harmless Agreement? | Yes |

- Workers Compensation Discount Programs

| Injury Triage Program | Yes |
| --- | --- |
| Medical Protocol | Yes |
| Post Accident Drug Testing | No |
| Please remember that all Municipal Workers Compensation Fund (MWCF) members adopting these programs will receive a three percent discount per program. As an added incentive to adopt these programs, by adopting all three programs, you will become eligible to receive an additional one percent discount. That would mean a full 10% discount on your workers compensation premium. If you have any questions regarding coverage offered by MWCF, please contact Terry Young at Millennium Risk Managers (MRM), who is the Third-Party Administrator for the Fund, at 1-888-736-0210. |  |

# Property Tour NOTE: The purpose of the Property Tour is to assist you in identifying safety or liability exposures that could affect your organization. The answers and comments in ALL sections below only apply to the property or equipment viewed by the loss control representative on this date and in no way implies this or any other property or equipment is free of all defects or hazards.. - Facility Inspections

| Do you inspect your property for safety hazards and/or liability exposures? | Yes |
| --- | --- |
| How often do you conduct these Property Inspections? | Weekly |
| Do you document Property Inspections? | Yes |
| Are fire extinguishers present, inspected, charged, and accessible? | Yes |
| Are emergency exits adequately marked? | Yes |
| Are corridors, stairwells, and emergency exits clear of obstructions? | Yes |
| Are handrails and guardrails provided where applicable and in good condition? | Yes |
| Are emergency backup lights functioning properly? | Yes |
| Is there at least three (3) feet clearance in front of electrical panels/breaker boxes? | Yes |
| Are dead front covers, blank covers, cover plates, etc. in place to eliminate exposed wiring or live electrical components? | Yes |
| Are flammable liquids and other chemicals stored appropriately? | Yes |
| Are compressed gas cylinders properly secured? | Yes |
| Are eye wash stations present where applicable? | Yes |
| Are the eye wash stations clearly accessible, functioning correctly, and regularly inspected? | Yes |
| Are outdoor outlets or outlets near a water source protected by a GFCI? | Yes |
| Do you practice good housekeeping throughout your facilities? | No |
| Do you rent any of your municipal buildings or facilities out to the public for special events? | Yes |
| Do you require the renter to sign a rental agreement? | Yes |

- Machinery Tools and Equipment

| Do you own Machinery, Tools, or Equipment? | Yes |
| --- | --- |
| Are safety guards in place on machinery, tools, and equipment? | Yes |
| Do zero-turn mowers and tractors have ROPS and seat belts? | Yes |
| Do frequent stop vehicles have adequate lighting, signage, or reflective decals? | Yes |
| Do you have fire extinguishers on mobile equipment? | Yes |
| Do you use appropriate equipment for elevated work such as hanging Christmas decorations? | Yes |
| Do you have an air compressor used for filling SCBA tanks? | Yes |
| Do you perform air quality testing per NFPA 1989? | No |

- Utility Operations

| Do you own or operate utilities? | Yes |
| --- | --- |
| What utility operations or services do you provide? Water, Sewer, Electric, Gas |  |
| Are utility properties adequately fenced or secured? | Yes |
| Are fences properly maintained and in good repair? | Yes |
| Are gates locked and the gaps in the gate not too large? | Yes |
| Are recommended warning signs in place at locations? | Yes |
| Are hazardous chemicals present? | Yes |
| Are hazardous chemicals safely stored in a designated area that is locked or properly secured? | Yes |
| Are hazardous chemicals stored in appropriate containers and properly labeled? | Yes |
| Are recommended ventilation exhaust fans installed and working in chemical rooms? | Yes |
| Is the fan switch automatic or located outside the door? | Yes |
| Are life rings or other life-saving equipment available near lagoons, basins, or where applicable? | Yes |
| Are removable ladder sections secured and viewed ladder guards locked? | Yes |
| Are your sewer operators certified? | Yes |
| Are the sewer treatment plants operating below maximum capacity? | Yes |
| Do you have a sewer maintenance and inspection program? | Yes |
| Do you install sewer check valves or back-flow preventers where necessary? | Yes |
| Do you log and follow up sewer complaint calls? | Yes |
| Are employees who enter homes and businesses to light gas pilot lights certified as needed? | Yes |

- Parks and Recreation

| Do you have parks or recreational facilities? | Yes |
| --- | --- |
| Are outside electrical panels, breaker panels or fuse boxes locked? | Yes |
| Is park maintenance equipment securely stored? | Yes |
| Do bleachers have proper guardrails and handrails? | Yes |
| Do you own playground equipment? | Yes |
| Do you have a documented playground inspection program? | Yes |
| Do playgrounds have adequate fall material? | Yes |
| Do you own or operate a swimming pool? | Yes |
| Is the swimming pool fence adequate and in good repair? | Yes |
| Do you document your swimming pool water testing? | Yes |
| Is the swimming pools chemical and pump room locked? | Yes |
| Are swimming pools chlorine and acids stored separately? | Yes |
| Are depth markers clearly visible? | Yes |
| Do you have a splash pad? | Yes |
| Was the splash pad designed and installed by a professional contractor? | Yes |
| Are all surfaces within the splash pad area free from defects or hazards such as sharp edges, trip hazards, etc.? | Yes |
| Are all splash pad features and equipment in good working condition, with no signs of damage or malfunction? | Yes |
| Are there adequate barriers or fencing to prevent access to restricted areas or potential hazards? | Yes |
| Are there clear and visible signs posted with safety rules, emergency contact information, and guidelines for proper use of the splash pad? | Yes |
| Is the water quality regularly tested, documented, and maintained to meet safety standards, with appropriate measures in place to prevent contamination? | Yes |
| Do you have a skateboard park? | Yes |
| Was the skateboard park designed and installed by a professional contractor? | Yes |
| Does the skateboard park have the required signage? | Yes |
| Do you have a documented skateboard park inspection program? | Yes |
| Do you have Equestrian Facilities or sponsor any Equine activities? | Yes |
| Do you have required signage per the Code of Alabama 1975 6-5-337? | Yes |

# Please Review Recommendations Below

Recommendation Title Employee Safety: Safety Meetings: Recommended; Rec Severity Best Practice. Recommendation: 2026-01-01 It is recommended that you conduct and document monthly safety meetings. Safety meetings allow all employees to voice any safety concerns they have, provide preventative safety training, and encourage employees to work safely. Our online training offered through LocalGovU is a good resource, provided to you at no cost, to assist you with conducting these meetings..

Recommendation Title Drug Testing: General; Rec Severity Best Practice. Recommendation: 2026-01-02 It is recommended that your municipality establish a drug and alcohol testing policy. This policy is especially important in the police department but should be considered for all municipal employees. A drug and alcohol-testing program gives the public confidence that municipal employees are drug and alcohol free, while also helping to lower exposure to workers’ injuries and liabilities. This policy should include Pre-Employment testing, Post-Accident testing, Random Testing, and Reasonable Suspicion testing. Municipalities adopting a Post-Accident drug and alcohol testing program will receive a three percent premium discount on their Worker’s Compensation premium - for more information contact MWCF at1-888-736-0210.

Recommendation Title Facility Inspections: Fire Extinguisher: Inspection; Rec Severity Best Practice. Recommendation: 2026-01-03 It is recommended that fire extinguishers remain accessible at all times, with a 3-foot clearance maintained in front and on both sides. Monthly inspections should be conducted to ensure the yellow needle is in the green zone, the safety pin is securely engaged and accessible, and the nozzle is free of obstructions. Fire extinguishers should also be securely mounted and fully charged. Additionally, it is important to verify that all fire extinguishers receive the required annual inspections..

A Recommendation Response Form is attached. Please inform us as to the status of each recommendation on the form by entering a number (1-5) in the Rec Response column for each recommendation. Please do not leave any blanks. Comments are welcome but not required. Please return this form by emailing it to losscontrol@almonline.org within 45 days as to the actions taken or plans to comply with the recommendations.