Risk Assessment Checklist The (Insert City Name) Safety Inspection Policy requires departments to conduct regular saety audits of areas under their control. The attached checklist was designed to assist departments in fulfiling this responsibility. This checklist is to be used as the standard throughout the City but should not be considered to be all-inclusive. Because of this, the checklist can be modified to meet individual facitlity requirements by adding site-specific items in Section Q. If a department has operations, equipment, or processes not covered by this checklist, the Safety Department can assist you in developing a checklist specific to your needs. It is important to document that every item has been reviewed. Do not just leave items blank if they do not apply. Carefully and honestly assess each item that is pertinent and select the appropriate response. If a particular item or heading does not exist in the area/facility being audited, please note this on the checklist by one of the following methods: - Mark the “N / A” column - Draw a diagonal line through the particular item(s) description or through the entire section, if not applicable to the area/facility. The checklist has been designed so that a "YES" answer is the compliant response to all questions. Negative responses will require explanations in the comments section and completion of a corrective action plan which is to be monitored until the problem has been resolved. The corrective action plan will be retained with the safety checklist. When the inspection is completed, management should assess and prioritize all the "NO" marks, decide what to do to correct the situation, and set a target date for completion. After the problem is corrected, the date of correction should be entered in the “Action Completed” column next to that inspection checklist item. Completed safety inspection checklists are to be kept by the Department for at least three (3) years. The Safety Department will conduct periodic compliance checks of these records. The frequency of inspection is dependent upon the particular facility being inspected, but at a minimum inspections are to be conducted on a quarterly basis. Inspections are to be completed and submitted to the Department Director according to the chart below. Frequency; Deadline. 1st Qtr; March 30. 2nd Qtr; June 30. 3rd Qtr; September 30. 4th Qtr; December 30. Prior to beginning inspection, review previous inspection reports to determine status of any open items.

- Safety Inspection Checklist

- Building/Department(s): ____________________________________________________________________________________________

Date: __________________________    Time: ____________  Start  ____________ Finished  _____________ Start _________  Finished

Inspector(s): _____________________________________       Building Coordinator: __________________________________________

| # Checklist Items | # Yes | ## No | # NA |  | Checklist Items | Yes | # No | # NA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ### A. General-All Areas |  |  |  |  | ### G. Storage – Fire Protection |  |  |  |
| 1. Are all ceiling tiles in place and in good condition? |  |  |  |  | 1. is the storage of combustibles in the work area held to a minimum to avoid a fire hazard? |  |  |  |
| 2. Is all furniture in good/stable condition and properly adjusted? |  |  |  |  |  |  |  |  |
| 3. Are wall-mounted book cases free of excessive material on top and and not overloaded? (Chemicals & heavy items should not be stored above head height (6 feet)). |  |  |  |  | 2. Is clearance of at least 18 inches maintained around fire sprinkler heads? |  |  |  |
|  |  |  |  |  | 3. Are flammable/combustible liquids in excess of one day’s operational supply kept in approved flammable materials storage (FMS) cabinets? |  |  |  |
| 4. Are all walking or working surfaces free of tripping/slipping hazards? |  |  |  |  |  |  |  |  |
| 5. Are emergency phone numbers and procedures posted at or near telephones? |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 4. Are all FMS cabinets free of combustible materials (cardboard, paper, plastic, etc.)? |  |  |  |
| 6. Are all fans equipped with a blade guard with openings no greater than ½ inch? |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 5. Are all flammable containers properly closed/covered to control vapors? |  |  |  |
| 7. Is consumption of food, beverage, etc., prohibited where required? |  |  |  |  |  |  |  |  |
| ### B. General – Shops |  |  |  |  | 6. Are all flammable/combustible containers properly labeled/ identified? |  |  |  |
| 1. Are machine and belt guards in place and in good condition? |  |  |  |  | 7. Are all refrigerators used for storage of flammable/combustible liquids/materials approved and explosion proof? |  |  |  |
| 2. Is pedestal machinery securely anchored to the floor? |  |  |  |  |  |  |  |  |
| 3. Is equipment properly maintained and adjusted to prevent personal injury and equipment damage? |  |  |  |  | 8. Are flammable/combustible liquids returned to approved flamm- able liquid storage cabinets at the end of the workday? |  |  |  |
| 4. Are compressed air nozzles at the correct pressure of 30 psi or less? |  |  |  |  | ### H. Storage – Compressed Gas Cylinders |  |  |  |
| 5. Is all piping appropriately identified as to contents/direction of flow? |  |  |  |  | 1. Are all cylinders properly secured with straps or chains to prevent tipping/falling? |  |  |  |
| 6. Are hot pipes and surfaces guarded against contact and clearly marked “HOT”? |  |  |  |  | 2. Are protective valve caps in place when cylinder is not in use? |  |  |  |
|  |  |  |  |  | 3. Are empty and full cylinders stored separately? |  |  |  |
| 7. Are areas requiring use of protective equipment (e.g., Eye Protection Required, etc.) adequately posted with warning signs and enforced? |  |  |  |  | 4. Are only chemically compatible cylinders stored together? |  |  |  |
|  |  |  |  |  | 5. Are cylinder contents adequately labeled and easily seen? |  |  |  |
| 8. Is damaged/malfunctioning equipment tagged “OUT OF SERVICE”? |  |  |  |  | 6. Is the correct regulator being used for the cylinder service? |  |  |  |
| ### C. Egress (Exits/Corridors) |  |  |  |  | 7. Are highly toxic gases stored in vented gas cabinets? |  |  |  |
| 1. Are all corridors, stairwells, and exits unobstructed? (free of boxes, furnishings, clutter, etc) |  |  |  |  | ### I. Personal Protective Equipment |  |  |  |
| 2. Are all exit doors unobstructed? |  |  |  |  | 1. Is the requirement of use of protective equipment enforced? |  |  |  |
| 3. Are exit signs posted and properly illuminated to clearly indicate exits? Check also to see that emergency lights are in working order. |  |  |  |  | 2. Is the required personal protective equipment worn? |  |  |  |
|  |  |  |  |  | 3. When not in use, is personal protective equipment properly maintain/stored? |  |  |  |
| 4. Are all exit doors able to be opened from the inside without special knowledge/keys? |  |  |  |  |  |  |  |  |
| 5. Are exit doors free of slide bolts or locks? |  |  |  |  | 4. Is personal protective equipment readily available for all personnel including visitors to the area? |  |  |  |
| ### D. Electrical |  |  |  |  |  |  |  |  |
| 1. Is there at least three (3) feet clearance in front of electrical panels/breaker boxes? |  |  |  |  | 5. Is all personal protective equipment free from damage and deterioration? |  |  |  |
| 2. Are electric hand tools properly grounded/double insulated? |  |  |  |  | 6. Are all employees using respiratory protection properly trained and authorized by EH&S? |  |  |  |
| 3. Is the area free of extension cords? |  |  |  |  |  |  |  |  |
| 4. Is all electrical equipment plugged directly into wall outlets? |  |  |  |  | 7. Is self-contained breathing equipment properly maintained/ inspected? |  |  |  |
| 5. Are all cords/plugs free from damage or deterioration? |  |  |  |  |  |  |  |  |
| 6. Are switches and circuit breakers properly identified as to the service they are in and to what they control? |  |  |  |  | ### J. Railing/Elevated Work Areas |  |  |  |
|  |  |  |  |  | 1. Are drain openings/pits in the floor or walking surfaces guarded to prevent tripping/slipping? |  |  |  |
| 7. Are circuit breaker panels free of combustible materials? |  |  |  |  |  |  |  |  |
| 8. Are covers plates in place on junction boxes to eliminate exposed wiring? |  |  |  |  | 2. Are toeboards in place on elevated platforms to prevent objects from falling off the platform? |  |  |  |
| 9. Are “WARNING HIGH VOLTAGE” signs installed on high voltage enclosures for systems rated 600V or over? |  |  |  |  | 3. Are standard guardrails provided on elevated platforms? |  |  |  |
|  |  |  |  |  | 4. Are handrails provided and in good condition on stairways? |  |  |  |
| 10. Is all electrical, including light fixtures, protected from physical damage by enclosure/guards? |  |  |  |  | 5. Are there provisions for safe access to elevated machinery/ equipment? |  |  |  |
| ### E. Emergency Equipment |  |  |  |  | ### K. Ladders |  |  |  |
| 1. Is emergency equipment (alarm pull boxes, eyewashes, showers, etc.) accessible and not blocked by equipment? |  |  |  |  | 1. Are portable ladders in good repair and safe to use? |  |  |  |
|  |  |  |  |  | 2. Are mobile ladder stands in good condition? |  |  |  |
| 2. Are emergency eyewashes provided in the required chemical areas? |  |  |  |  | 3. Are standard guardrails provided on elevated platforms? |  |  |  |
| 3. Are emergency showers provided in the required chemical areas? |  |  |  |  | 4. Are handrails provided and in good condition on stairways? |  |  |  |
| 4. Is all emergency equipment in good condition? |  |  |  |  | L. Forklifts |  |  |  |
| 5. Are spill kits accessible and fully stocked per list? |  |  |  |  | 1. Are defective forklifts taken out of service and tagged “DO NOT USE”? |  |  |  |
| ### F. Storage – General |  |  |  |  | 2. Are forklift inspection forms current and maintained in a file? |  |  |  |
| 1. Is good housekeeping practiced in work area (Is it free of debris, combustibles, obstructions? Are aisles maintained?)? |  |  |  |  | 3. Are load limits clearly posted in the area? |  |  |  |
|  |  |  |  |  | 4. Are forklift operating rules clearly posted in the area? |  |  |  |
| 2. Is storage adequately supported/stable to avoid tipping/falling? |  |  |  |  | 5. Are all operators trained and authorized? |  |  |  |
| 3. Is there at least two (2) feet clearance between stacked materials and ceiling light? |  |  |  |  |  |  |  |  |
| # Checklist Items | # Yes | ## No | # NA |  | Checklist Items | Yes | # No | # NA |
| ### M. Fire Protection |  |  |  |  | ## P. Grounds |  |  |  |
| 1. Are there current welding permits displayed in welding area? |  |  |  |  | 1. Is access to building obstructed by landscaping? |  |  |  |
| 2. Are all self-closing doors operational? |  |  |  |  | 2. Is exterior lighting adequate and functioning? |  |  |  |
| 3. Are walls and floors free of holes/penetrations? |  |  |  |  | 3. Are steps, stairs, sidewalks, walkways and parking lots free from fall and trip hazards? |  |  |  |
| 4. Are no smoking regulations clearly posted and being followed in “NO SMOKING” areas? |  |  |  |  | 4. Are irrigation systems free of depressed or protruding heads? |  |  |  |
| 5. Are fire extinguishers and signs clearly visible? |  |  |  |  | 5. Are trees free of loose or broken branches or protruding roots? |  |  |  |
| 6. Is access to fire extinguishers clear and unobstructed? |  |  |  |  | 6. Are fences sound and free of holes or other defects? |  |  |  |
| 7. Are all extinguishers in place and properly mounted? |  |  |  |  | 7. Is vegetation controlled? |  |  |  |
| 8. Are all extinguishers properly inspected (monthly) and maintained (annually)? |  |  |  |  | 8. Are grounds free of unusual hazards such as holes, divoits, protrusions and other obstacles? |  |  |  |
| 9. Are all fire alarms functioning properly and tested annually? Date of most recent drill: |  |  |  |  |  |  |  |  |
| ## N. Training |  |  |  |  | ## Q. Site-Specific |  |  |  |
| 1. Have personnel been trained in the use of personal protective equipment? |  |  |  |  | 1. |  |  |  |
| 2. Are all employees trained in hazardous substances safety? |  |  |  |  | 2. |  |  |  |
| 3. Have personnel working in high noise areas been trained in hearing conservation? |  |  |  |  | 3. |  |  |  |
| 4. Have employees who use respirators been trained, fit tested, and received the required health monitoring examination? |  |  |  |  | 4. |  |  |  |
| 5. Are employees who use self-contained breathing apparatus properly trained and authorized? |  |  |  |  | 5. |  |  |  |
| 6. Are planned and unplanned emergency drills conducted at regular intervals? Date of most recent drill: |  |  |  |  | 6. |  |  |  |
| ### O. Computer Rooms |  |  |  |  | 7. |  |  |  |
| 1. Are combustibles stored in approved, enclosed metal cabinets? |  |  |  |  | 8. |  |  |  |
| 2. Is combustible waste, e.g., trash containers, cardboard boxes, etc., removed from the room daily or more often as needed? |  |  |  |  | 9. |  |  |  |
| 3. Is the computer room free of flammable/combustible liquids? |  |  |  |  | 10. |  |  |  |
| 4. Are computer tapes stored in approved, enclosed metal cabinets? |  |  |  |  | 11. |  |  |  |
| 5. Is the raised floor free of unsealed cable holes? |  |  |  |  | 12. |  |  |  |
| 6. Are floor tile pullers available and mounted? |  |  |  |  | 13. |  |  |  |
| 7. Are doors to the peripheral rooms closed? |  |  |  |  | 14. |  |  |  |
| 8. Is paper stored in computer room limited to a one day supply? |  |  |  |  | 15. |  |  |  |
| 9. Is the room free of repair shop operations? |  |  |  |  | 16. |  |  |  |
| 10. Is the room free of soldering irons? |  |  |  |  |  |  |  |  |
| #### Explanation/Comments on all NO Answers |  |  |  | #### Explanation/Comments on all NO Answers |  |  |  |  |

- Safety Checklist Corrective Action Summary

| Facility/Site Inspected:___________________________________________________________ Date Inspection Completed:____________________________ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address: ___________________________________________________________________________________________________________________________ |  |  |  |  |  |
| Inspection Team Members: ____________________________________________________________________________________________________________ |  |  |  |  |  |
|  |  |  |  |  | Page ____ of ____ |
| CORRECTIVE ACTION PLAN |  |  |  |  |  |
| Facility Safety Checklist Item # | SPECIFIC SAFETY CONCERN | CORRECTIVE ACTION | PERSON(S) RESPONSIBLE | Projected Completion Date | Date Action Completed |